# El Paso County

Contracts and Procurement Division

15 East Vermijo Avenue

Colorado Springs, Colorado 80903

REQUEST FOR PROPOSAL RFP #26-074

Addendum #1 – October 27, 2026

THIS ADDENDUM SHALL BECOME A PART OF THE SOLICITATION

AND MUST BE ACKNOWLEDGED

Request for Proposal RFP-26-074 – Water Treatment Chemicals - dated October 6, 2026

CLARIFICATIONS:

El Paso County will only accept electronic bid proposals submitted through the Rocky Mountain E-Purchasing system.  A Submittal Log will be posted after the County has had an opportunity to review and verify the submittals offered to the County.

The original Offer must be received before the due date and time through an electronic package transmitted through the Rocky Mountain E-Purchasing system.  The Vendor is responsible for ensuring its Response is posted in its entirety by the due date and time outlined in the solicitation document.  No allowances will be provided to those Vendors whose submittal is not uploaded prior to the due date and time outlined in the solicitation.

If the submittal arrives late and/or is not uploaded in its entirety, it will not be included in the electronic lockbox.

ADMINISTRATION:

- The question period has expired

- Responses should follow the Response Format on page 10 and include all responses to all mandatory requirements.

We will be verifying submittals include the following:

- Consultant Information Form

- Proprietary / Confidential Statement

- Subconsultant list (if applicable)

- Exhibit 1 – Exceptions Form

- Exhibit 2 – Lobbying Certification

- Exhibit 3 – Non-Collusion Affidavit

- Exhibit 4 – Minimum Insurance Requirements

- Completed and signed Cover Sheet

- Addendum(s) Acknowledgement, if applicable

- Documentation of Meeting Minimum Requirements

- Fee Proposal

If a submittal is missing any of the above-mentioned documentation the submittal may be returned to the vendor as non-responsive and be deemed ineligible to participate.

RESPONSE TO QUESTIONS:

Q1: How often does each facility require field service? How often are corrosion coupons pulled by facility/system type? Is it the facility's intent to purchase chemicals as needed with a separate service agreement or have both chemical and service under one agreement?

A1: Field service required monthly. Corrosion coupons are pulled monthly. This will be an all-in-one agreement.

Q2: Are notes from the October 13 pre-proposal meeting or additional equipment schedules available?

A2: All formal questions were submitted through BidNet.

Q3: Can a site visit be arranged before proposals are due?

A3: A pre-solution meeting was recommended and took place on October 13th at 2:00 P. There will be no additional site visits.

Q4: Should each of the 12 annual service visits cover all six facilities and all listed equipment?

A4: Yes.

Q5: Are swamp coolers included in testing and treatment?

A5: No.

Q6: Can the County provide system volumes, boiler operating pressures, makeup water and steam usage, operating schedules, recent water analyses, and current treatment targets?

A6: No, not all of our mech rooms are equipped with make-up water meters.

Steam pressure will vary between 40 and 80 PSI based on demand and seasonal ambient temperatures.

All boilers and chillers are scheduled via our BAS and run every day.

Q7: Can SDS and technical data sheets for the current chemicals be provided to verify proposed product equivalency?

A8: Safety Data Sheets (SDS) Binders are located in each mechanical room. We have attached the sheets on this addendum.

Q9: Are quantities listed annual totals across all facilities, and what sodium nitrite quantity should be used for pricing evaluation?

A9: Yes, the amounts are for all facilities requiring these chemicals. Sodium Nitrite usage has historically been 30 Gallons per year.

Q10: How many coupon racks and coupons require twice-yearly analysis, and which metallurgies are included? What estimated quantities and frequencies should bidders include for other laboratory testing?

A10: There are 2 coupons for the chilled and they are tested semi-annually, and there are 2 for the condenser water that are tested quarterly.

Q11: Does vendor-paid equipment replacement and installation apply only when proposed chemicals are incompatible with existing equipment?

A11: Correct.

Q12: How will repairs or replacement due to existing equipment condition or normal wear be handled?

A12: This will be the responsibility of the water treatment consultant.

Q13: Does the three-hour emergency response requirement mean on-site arrival or initial technical response?

A13: On-site within the 3-hour window.

Q14: How is after-hours access arranged?

A14: Via our on-call technician. All EPC facilities are secure so if after-hours access is required that has not been previously coordinated, then the vendor/contractor will need to call 719-520-6556 and follow the recorded message instructions.

Q15: Does the 24-hour chemical fulfillment requirement include weekends and holidays?

A15: No.

Q16: Does fulfillment mean delivery to the facility?

A16: No, this applies to order confirmation.

Q17: Are there designated delivery locations or minimum order quantities?

A17: Deliveries must be shipped to EPC-FSIM, 325 S. Cascade Ave, Colorado Springs, CO 80903. No minimum order quantities.

Q18: May monthly service, laboratory testing, requested training, and additional technical support be priced separately?

A18: No, combine all services.

Q19: Please clarify how requested service-call pricing should be presented alongside the prohibition on trip charges and other surcharges.

A19: State the Hourly Rate for service calls and that there are no additional trip or surcharges.

Q20: For emergency work outside the standard scope, does the cost-plus-10% material limit include freight and subcontracted work?

A20: Yes.

Q21: May emergency labor be billed separately at the proposed hourly rate?

A21: Yes.

Q22: The RFP requires electronic submission in one PDF but also requests a separate sealed fee proposal. Please confirm how technical and pricing documents should be uploaded through BidNet, including whether separate files or designated upload fields are required. The RFP prohibits company logos but requires the cover letter and fee schedule on company letterhead. Is company letterhead containing a logo permitted for these documents?

A22: This shall be submitted in the electronical envelope labeled “Fee Proposal”. We prefer no El Paso County’s logos used within the proposal. This is a two-step process on BidNet. Step one is the Technical Proposal and the second step is the Fee Proposal.

Q23: From page 11 of RFP: The Fee Schedule must be submitted as a separate document in a sealed envelope, apart from the technical proposal. Since the technical proposal will be submitted electronically, please confirm how you would like the sealed envelope to be delivered.

A23: This shall be submitted in the electronical envelope labeled “Fee Proposal”.

Q24: From page 9 of the RFP: There is a 5- page limit. SDS Sheets tend to be lengthy. Do the SDS Sheets count toward the 50-page limit?

A24: Safety Data Sheets (SDS) shall not count towards your 50-page limit.

Q24: From page 5 & 6 of the RFP: The solicitation requires routine chemical orders to be fulfilled within 24 hours of receipt and requires a qualified service representative and 24/7 emergency technical support within three (3) hours. Please clarify whether the three-hour response requirement means that a representative must physically arrive at the County’s downtown facilities within three (3) hours, or whether telephone contact within three (3) hours is acceptable, with the required on-site arrival time to be determined during that call. Please also confirm whether the same response standard applies during normal business hours and for after-hours emergency support.

A24: Response within 3 hours via telephone is acceptable.

On-site arrival must always be coordinated to arrange for an escort into our facilities.

Q25: From page 14 of the RFP: The solicitation states that requests for additional services during the contract period “shall be honored by the Consultant as a condition of contract award.” Please clarify what specifically the Consultant will be required to honor. Please also confirm whether the Consultant will have an opportunity to review and mutually agree upon the scope, schedule, and pricing before performing any additional services.

A25: Any additional site visits, testing or emergency services will be billed at the rates agreed upon.

Q26: From page 7 of the RFP: The RFP includes a pricing line item for an oxidizing biocide but not for a non-oxidizing biocide. Please confirm whether this omission was intentional and, if a non-oxidizing biocide may be required, how it should be included and priced.

A26: Please include the pricing and we will order if and when needed.

Q27: From page 5 of the RFP: The RFP requires the Consultant to perform corrosion coupon analysis twice (2) annually and provide written analytical reports with recommendations. Please confirm that this requirement applies to each of the six (6) County buildings identified in the Scope of Work, resulting in two (2) corrosion coupon analyses per building annually, for a total of twelve (12) analyses per year.

A27: There are 2 coupons for the chilled and they are tested semi-annually, and there are 2 for the condenser water that are tested quarterly.

Q28: From page 5 of the RFP: The RFP requires the Consultant to perform twelve (12) scheduled on-site service visits annually, with monthly service visits as requested by the County. Please confirm that this requirement applies to each of the six (6) County buildings identified in the Scope of Work, resulting in twelve (12) monthly service visits per building, for a total of seventy-two (72) scheduled on-site service visits annually across all six facilities.

A28: Monthly visits are required for TSB, CUP and RBD only.

Signature below indicates that applicant has read all the information provided above and agrees to comply in full. This addendum is considered as a section of the Request for Proposal and therefore, this signed document shall become considered and fully submitted with the original package.

PRINT OR TYPE YOUR INFORMATION

| Company Name | Fax |  |
| --- | --- | --- |
| Address: | City/State/Zip: |  |
| Contact Person: | Title: |  |
| Email: | Phone: |  |
| Authorized Representative’s Signature: |  | Date: |
| Printed Name: | Title: |  |
| Email: | Phone: |  |