## Generators
| Generator, Engine, and ATS General Information | [9 empty] | Load Bank Schedule | [8 empty] | Pricing
|  | Address | Gate Code | Make | Model | Serial Number | Spec | Size | Hours | Alert Setup | 2026 | 2027 | 2028 | 2029 | 2030 | Voltage | Phase | Fuel | Tank Gal | 2 Minor PMs | 1 Major PM | Load Bank | ATS Day Rate | ATS After Hours Rate | Oil, Coolant, Fuel Sample Testing
TOWERS | Chopstix | 1365 Park Central Dr Highlands Ranch, CO 80129 |  | Generac | SG0050GG035.4N18HPNLA | 3002157326 |  | 50 KW | 184 as of 10.17.26 | DTR | [5 empty] | 208 | 1 | Nat. Gas |  | $ | $ | $ | $ | $ | $
Engine
ATS
| Lost Lake | 6810 Lost Lake Dr Franktown, CO 80116 | 4211 | Generac | SG0050AG035.4V18HPYYC | 3001267975 |  | 50 KW | 169 as of 6.23.26 | DTR | [5 empty] | 208 | 1 | Propane | 1000 | $ | $ | $ | $ | $ | $
Engine
ATS
| Rocky Point | 2539D N Highway 67 Sedalia, 80135 | 2468 | Generac | SD0050AG163.4D18HPYY3 | 9619732 |  | 50 KW | 231 as of 8.5.26 | DTR | [5 empty] | 208 | 1 | Diesel | 500 | $ | $ | $ | $ | $ | $
Engine
ATS
| Devils Head | 6532 Rampart Range Rd Sedalia, CO 80135 | 2737 | Cumins | C13N6H | G180386367 |  | 13KW | 455 as of 8.5.26 | myalarms.com | [5 empty] | 208 | 1 | Propane | 1000 | $ | $ | $ | $ | $ | $
| Engine |  | Rampart Gate 0212
ATS
| New Covenant | 77A W Perry Park Ave Larkspur CO 80118 | 2314 | Generac | SG0050AG035 | 9349502 |  | 50 KW | 371 as of 8.6.26 | DTR | [5 empty] | 208 | 1 | Propane | 1000 | $ | $ | $ | $ | $ | $
Engine
ATS
| Silver Heights | 922 G Pawnee Trail Castle Rock, CO 80108 | 4211 | Gillette | SPJD-600-1-1-2 | WF-30-308 |  | 60 KW | 18 as of 8.6.26 | DTR | [5 empty] | 208 | 1 | Diesel | 500 | $ | $ | $ | $ | $ | $
Engine
ATS
| Stone Canyon | 12171 Perry Park Rd. Larkspur, CO 80118 | 2314 | Kohler | KG50 | 33MGGMLL0001 |  | 50KW | 70 as of 8.6.26 | DTR | [5 empty] | 208 | 1 | Propane | 1000 | $ | $ | $ | $ | $ | $
Engine
| ATS |  |  | Kohler | KSSB/GM110653 | 2570665-005 RE
| Swank Tower | 28B Pine View St Palmer Lake, CO 80133 | 2314 | Generac | SG0050AG035 | 10041314 |  | 60KW | 304 as of 8.6.26 | DTR | [5 empty] | 208 | 1 | Propane | 1000 | $ | $ | $ | $ | $ | $
Engine
ATS
| West Creek Tower | 6625 S Rampart Range Rd Sedalia, CO 80135 | 4008 | Generac | ZG50 | 3003816886 |  | 50 KW | 305 as of 8.5.26 | DTR | [5 empty] | 208 | 1 | Propane | 1000 | $ | $ | $ | $ | $ | $
| Engine |  | Rampart Gate 0212
ATS
JUSTICE CENTER | Justice Center 350KW* | 4000 Justice Way Castle Rock, CO 80109 |  | Cummins | 350 DFCC | I960617099 | 83893M | 350 KW | 839 as of 9.24.26 | C-CURE | [5 empty] | 480 | 3 | #2 Diesel | 6000 | $ | $ | $ | $ | $ | $
| Engine |  |  | Cummins | NTA-855-G3 | 33046 | 100-3252-01
| ATS 4 |  |  | Cummins | BT 300 | H970645717 | 7849C | 300AMP
| ATS 5 |  |  | Cummins | BT 300 | H970645716 | 7849C | 300AMP
| Justice Center 1250KW* | 4000 Justice Way Castle Rock, CO 80109 |  | Cummins | 1250 DFLC | C970632454 | 86130N | 1250 KW | 1,024 as of 9.24.26 | C-CURE | [5 empty] | 480 | 3 | #2 Diesel | 6000 | $ | $ | $ | $ | $ | $
| Engine |  |  | Cummins | KTA50-G3 | 75994-141 | 100-3149-01
| ATS 1 |  |  | Cummins | BT 800 | C970632505 | 7849C | 800AMP
| ATS 2 |  |  | Cummins | BT 600 | C970632506 | 7840C | 600AMP
| ATS 3 |  |  | Cummins | BT 1200 | C970632508 | 12972A | 1200AMP
HRSS | Sheriff Substation* | 9250 Zotos Dr Highlands Ranch, CO 80129 |  | Cummins | DQCA | I100154296 | Spec C | 600KW | 1,1002 as of 10.2.26 | C-CURE | [5 empty] | 480 | 3 | Diesel | 1490 | $ | $ | $ | $ | $ | $
Engine
| ATS 1 |  |  | Cummins | OTECA | F100129687 | Spec A | 125AMP
| ATS 2 |  |  | Cummins | OTECC | F100129696 | Spec A | 400AMP
| ATS 3 |  |  | Cummins | OTECD | F100129688 |  | 800AMP
CRIME LAB | Crime Lab* | 8555 Double Helix Ct Englewood, CO 80112 |  | Cummins | DFEJ | B180322386 |  | 450 KW | 273 as of 10.3.26 | HVAC Server | [5 empty] | 480 | 3 | Diesel | 1370 | $ | $ | $ | $ | $ | $
Engine
| ATS 1 |  |  | Cummins | BTPCC | A18M300786
| ATS 2 |  |  | Cummins | BTPCB | A18M300787
FAIR GROUNDS | FG-Events Center | 500 Fairgrounds Dr Castle Rock, CO 80104 |  | Cummins | DFEG | B090233072 |  | 350 KW | 552 as of 8.7.26 | [6 empty] | 208 | 3 | Diesel | 1500 | $ | $ | $ | $ | $ | $
Engine
ATS
| FG-Kirk Hall | 500 Fairgrounds Dr Castle Rock, CO 80104 |  | Caterpillar | 208 CAT 100 KW D100GC | CAT0D100ET9600358 |  | 200 KW | 115 as of 7.10.26 | [6 empty] | 208 | 3 | Diesel | 343 | $ | $ | $ | $ | $ | $
Engine
ATS
COUNTY LOCATIONS | Elections* | 125 Stephanie Pl Castle Rock, CO 80129 |  | Kohler | 275 REOZJE | 22904 |  | 275 KW | 456 as of 2.11.26 | C-CURE | [5 empty] | 480 | 3 | Diesel | 472 | $ | $ | $ | $ | $ | $
Engine
ATS
| Evidence Technology* | 2965 Highway 85 Castle Rock, CO 80109 |  | Cummins | DFAC | C060898037 |  | 250 KW | 654 as of 2.12.26 | C-CURE | [5 empty] | 480 | 3 | Diesel | 934 | $ | $ | $ | $ | $ | $
| Engine |  |  | Cummins | LTA-10G1 | 43301501
| ATS |  |  | Zenith | ZB4DB0403N 1491662 | 1491662 |  | 400AMP
| Human Services* | 4400 Castleton Ct Caslte Rock, CO 80109 |  | Cummins | DFAC | D060907435 |  | 250KW | 527 as of 3.11.26 | C-CURE | [5 empty] | 480 | 3 | Diesel | 660 | $ | $ | $ | $ | $ | $
Engine
| ATS |  |  | ASCO | 7000 Series | 340836 |  | 400AMP
| Miller* | 100 3rd St Castle Rock, CO 80104 |  | Cummins | DQCA | L070136556 |  | 600 KW | 710 as of 7.2.26 | C-CURE | [5 empty] | 480 | 3 | Diesel | 1490 | $ | $ | $ | $ | $ | $
Engine
| ATS 1 |  |  | Zenith | ZG4SA0631 | 1535560 |  | 600AMP
| ATS 2 |  |  | Zenith |  |  |  | 600AMP
| ATS 3 |  |  | ASCO | 300 Series | FP-102597-4 |  | 105AMP
| Park Meadows Center* | 9350 Heritage Hills Cir Lone Tree, CO 80124 |  | Cummins | DFCE | C010221256 | Spec F | 400 KW | 534 as of 10.17.26 | C-CURE | [5 empty] | 480 | 3 | Diesel | 350 | $ | $ | $ | $ | $ | $
| Engine |  |  | Cummins | NTA-855-G5 | 30365519
| ATS |  |  | Cummins | OTPCC | C010214263 |  | 600AMP
| Public Works* | 3030 N Industrial Way Castle Rock, CO 80109 |  | Cummins | DFCC | E990919231 |  | 350KW | 627 as of 6.26.26 | C-CURE | [5 empty] | 480 | 3 | Diesel | 1120 | $ | $ | $ | $ | $ | $
| Engine |  |  | Cummins | NTA-855-G3 | 11946257
| ATS |  |  | Cummins | OTD | C010214263 |  | 1000AMP
| Wilcox Building* | 301 Wilcox St Castle Rock, CO 80104 |  | Cummins | DGFB | A990850649 |  | 175 KW | 618 as of 7.2.26 | C-CURE | [5 empty] | 480 | 3 | Diesel | 173 | $ | $ | $ | $ | $ | $
Engine
| ATS 1 |  |  | Cummins | OT150 | L980838764 |  | 150AMP
| ATS 2 |  |  | Cummins | OT225 | L980838765 |  | 225AMP
| Northwest Facility | 8117 Midway Dr Littleton, CO 80125 |  | Cummins | DGBB | E990912637 |  | 35 KW | 841 as of 10.17.26 | [6 empty] | 208 | 3 | Diesel | 125 | $ | $ | $ | $ | $ | $
Engine
ATS
| Road & Bridge Operations Service Center (South) Parker Yard Fleet | 9040 Tammy Lane Parker, CO 80134 |  | Generac | IDLC1000 | 1000000009 |  | 1000KW | 251 as on 7.17.26 | C-CURE | [5 empty] | 480 | 3 | Diesel | 1900 | $ | $ | $ | $ | $ | $
| Engine |  |  | Mitsubishi | S12H-Y2PTAW-1 | 34255
| ATS |  |  | Zenith | ZTG000A00120E | 150380935-10-1 | ZG5SA12031-07E627X
| Road & Bridge Operations Service Center (North) Parker Yard Crew | 9040 Tammy Lane Parker, CO 80134 |  | Generac | SD0500KG22152D18HPSY2 | 3001165137 |  | 500KW | 330 as of 7.22.26 | C-CURE | [5 empty] | 480 | 3 | Diesel | 1500 | $ | $ | $ | $ | $ | $
| Engine |  |  | Perkins | 2500 Series | MGDF5333N046098
| ATS |  |  | Zenith | ZTG000A00060E | 150681191-90-1 | ZG4SA06031-07E673X
| Southeast Road and Bridge | 11815 Spring Valley Rd Larkspur, CO 80118 |  | Kohler | REOZJB | 2103623 |  | 50 KW | 779 as of 3.11.26 | [6 empty] | 208 | 3 | Diesel | 237 | $ | $ | $ | $ | $ | $
| Engine |  |  | John Deere | 4045TF150 | PE4045T585488
ATS
* After Hours ATS Transfers Only
[19 empty] | Total | $ | $ | $ | $ | $ | $