## Price Sheet
Scope Item | Response |  |  | Total Price | Clarifications
| Included | Alternate | Exception
Supervisory/Front End Integration
BACnet Controllers and Network
HWS Controller, Sensor and Pumps
Boiler CACnet Interface
Four Electric Boiler Value Actuators
CHWS Controller, Sensors and Pumps
Three Chiller BACnet Interfaces
Cooling Tower Electric Valve Actuator
Chiller Optimization Sequence
AHU Controller and Sensors
Eight Electric Damper Actuators
AHU/Unit Heater Electric Valve Actuators
Four VFD BACnet Interfaces
AHU Safeties and Smoke Interlocks
Graphics, Alarms, Schedules and Trends
Commissioning and Documentation
Two Hour On Site Training
One Year Parts and Labor Warranty
|  |  | TOTAL | 0
Scope Item |  |  |  | Total Price | Clarifications
Alternate One - Legacy Supervisory Controller Replacement
Alternate Two - VAV Controller Modernization