Boettcher Mansion Chiller Replacement Project
ITB # 26-19289AP-FM

Andrew Pulford

Jefferson County

100 Jefferson County Parkway • Golden, Colorado 80419-4550 • (303)271-8586

Invitation to Bid

ITB # 26-19289AP-FM

The County of Jefferson, Colorado, is accepting responses for Boettcher Mansion Chiller Replacement Project in accordance with the terms, conditions, and specifications contained in these solicitation documents.

This project and any subsequent addenda will be posted to BidNet (Rocky Mountain E-Purchasing System, RMEPS) website (www.RockyMountainBidSystem.com).  Vendors are encouraged to register with BidNet for this and other opportunities.

Funding used for this project is from: General Fund

SCHEDULE OF ACTIVITIES

| Solicitation Issued | 14 October 2026 |
| --- | --- |
| Prebid/proposal meeting | 26 October 2026 @ 10:00a.m. |
| Questions DUE | 29 October 2026 @ 10:00a.m. |
| Addendum posted | 4 November 2026 (Estimated) |
| DUE DATE | 16 November 2026 @ 10:00a.m. |
| Bid Opening | 16 November 2026 @ 2:30p.m. |
| Contract Performance Period | Work to be complete NLT 20 April 2027 |

PRE BID CONFERENCE – In Person

Any contractor wishing to provide a response to this solicitation should attend the conference and will have an opportunity to meet with the County’s representative and address any questions that may arise.  All vendors should become familiar with all solicitation specifications prior to attending the conference. This conference is the only time that interested vendors can communicate directly with the project team.

Location & Time: 26 October 2026 @ 10:00a.m. – 900 Colorow Road. Golden, CO. 80401. Meet by main entrance of Boettcher Mansion Building

RSVP: Please confirm your attendance with the purchasing agent identified in this solicitation no later than 24 hours prior to the scheduled site walk.

The terrain and weather conditions may be varied and hazardous.

By attending the pre-bid conference, you assume all such risk and release the County of Jefferson and its officers, employees, and agents, from any liability for any injury, death, loss, damage, or expense, including costs and attorney’s fees, to you from any such risk.  This assumption of risk and release of liability is intended to be as broad and inclusive as permitted by law.

QUESTIONS

All questions must be submitted in writing via e-mail to purchasing agent Andrew Pulford at  APulford@co.jefferson.co.us, by 29 October 2026 @ 10:00a.m. Questions received after the posted due date for questions will not be accepted.

BID OPENING

Interested parties may watch the opening via Microsoft Teams and call in to hear the bid opening on 16 November 2026 @ 2:30p.m.

Questions will NOT be accepted or addressed during the call.

Bid Opening link:

Microsoft Teams meeting

Join: https://teams.microsoft.com/meet/22438092957148?p=fz6N1MrXn5HoEO0lE7

Meeting ID: 224 380 929 571 48

Passcode: dH2CJ3Px

Need help? | System reference

Dial in by phone

+1 970-773-5375,,477802983# United States, Grand Junction

Find a local number

Phone conference ID: 477 802 983#

Join on a video conferencing device

Tenant key: jeffco@m.webex.com

Video ID: 114 663 486 0

More info

For organizers: Meeting options | Reset dial-in PIN

METHOD OF AWARD

The successful Offeror will be required to execute an agreement with Jefferson County in a form which will include all the terms, conditions, specifications, cost, and any approved exceptions to this solicitation. The enclosed sample agreement is substantially in the form that will be executed between the successful Bidder and Jefferson County.

The County of Jefferson, Colorado, reserves the right to reject any or all bids or portions thereof, to waive any informalities or irregularities in the bids received which are inconsequential or immaterial in nature, and to approve awards in total or in part, whichever, in its judgment best serves the interests of Jefferson County, Colorado.  The award recommendation shall be made to the lowest responsive and responsible bidder.

If you are unable to access any of the content of these documents, please complete our digital accessibility request form or call us at 303-271-8455 for assistance.

SCOPE OF WORK

PERFORMANCE STANDARDS OR SPECIFICATIONS

All Work shall be performed in accordance with local, federal, and state laws, rules and regulations, as amended.

All Work shall be completed in accordance with the Plans and Specifications provided by Jefferson County.

- BACKGROUND AND OBJECTIVES

Jefferson County Facilities Management requires the replacement of the existing air-cooled chiller and associated chilled water system components serving the Boettcher Mansion, located at Lookout Mountain, 900 Colorow Rd., Golden, CO 80401. The existing equipment has reached the end of its service life and no longer meets reliability or performance expectations. This Statement of Work (SOW) establishes the scope, specifications, deliverables, performance criteria, schedule requirements, responsibilities, and administrative terms for the complete execution of the chiller replacement project.

Capitalized terms not defined herein shall have the meanings assigned in the governing Contract or Purchase Order to which this Statement of Work is attached.

- SUMMARY OF WORK TO BE PERFORMED

The Contractor shall provide all labor, materials, equipment, supervision, engineering, testing, commissioning, documentation, and coordination necessary to complete the Work as described herein and in the Contract Documents.

WORK SCOPE OVERVIEW:

- The Contractor shall perform all work necessary to remove existing chiller equipment and install new HVAC equipment and supporting systems consistent with Division 23 specifications contained in the Boettcher Mansion Chiller Replacement Construction Documents.

Work includes, but is not limited to:

- Demolition and removal of existing HVAC components and piping.

- Installation of new air-cooled chiller, hydronic pumps, buffer tank, air separator, expansion tank, glycol feeder, and associated appurtenances.

- Installation, connection, and alignment of all new hydronic piping systems between chiller and mechanical room pumps.

- Replacement of chilled water system components as identified in the Project Manual.

- PERFORMANCE STANDARDS OR SPECIFICATIONS

The Contractor shall complete all Work in compliance with the specifications provided in the Boettcher Mansion Chiller Replacement Project Manual, including but not limited to:

- Division 01 – General Requirements

- Division 02 – Existing Conditions

- Division 03 – Concrete (as needed for housekeeping pads)

- Division 23 – HVAC, including equipment requirements, hydronic piping, insulation, pumps, chiller specifications, commissioning, controls, testing, adjusting, and balancing.

- Division 26 – Electrical Requirements

The new HVAC equipment shall meet or exceed all performance criteria specified in Sections 23 6426.01 (Air-Cooled Liquid Chiller), 23 2113 (Hydronic Piping), and 23 2123 (Hydronic Pumps).

- DELIVERABLES

The Contractor shall provide the following deliverables:

- Submittals

- Product data, shop drawings, and cut sheets for all equipment.

- Contractor’s construction schedule (bar chart format).

- Submittals required under Divisions 01, 23, 26.

- As-Built Documentation

- One electronic and three hard copies of as-built drawings in AutoCAD 2024 (min. 2022) DWG format, plus one PDF copy.

- BIM files, if available.

- Operation and Maintenance Manuals (3 hard copies + 1 electronic).

- Warranty documentation.

- Testing & Commissioning Reports

- Start-up reports for all systems.

- TAB report on hydronic systems.

- SCHEDULE AND PERIOD OF PERFORMANCE

- Work shall commence on the date specified in the Notice to Proceed.

- The period of performance shall be completed within the calendar days identified in the Contract Documents.

- Contractor must coordinate Work around scheduled events occurring at Boettcher Mansion, including weddings, public events, and facility rentals.

- Noisy or disruptive Work must occur outside normal business hours (7:00 a.m. – 4:30 p.m.) unless otherwise approved.

- Noisy and/or disruptive work shall be performed before or after regularly scheduled business hours.

- CONTRACTOR RESPONSIBILITIES

The Contractor shall:

- Complete all Work in a first-class workmanship manner to the satisfaction of the County Representative within the specified period of performance.

- Provide all labor, materials, equipment, and supervision to complete Work.

- Protect all County buildings and the surrounding areas from damage and return to original condition if damaged or disturbed.

- Verify all site conditions, field measurements, and electrical/mechanical requirements prior to ordering materials or equipment.

- Locate and mark all underground utilities and perform all necessary procedures to protect such utilities, pursuant to applicable standards.

- Safely barricade all Work to ensure safe separation of Contractor’s materials, equipment and operations from

- Secure all vehicles, materials, and equipment while not in use.

- Schedule all Work, materials delivery, and building access with the County Representative. The County will not receive or sign for materials and/or material deliveries.

- Ensure all products are stored and transported in accordance with the manufacturer’s specifications.

- Provide County Representative Material Safety Data Sheets (M.S.D.S.) for all materials and products stored and applied onsite.

- Supply all equipment necessary for transporting materials from the work area.

- Obtain all necessary permits through the authorities having jurisdiction.

- Purchase Performance and Payment Bonds for work over $50,000 pursuant to C.R.S. § 38-26-105.

- Be responsible for any increase in costs associated with the project insurance requirements.

- Properly dispose of all trash, debris, and waste daily.  Properly dispose of demolished equipment.

- Display the personnel-specific security badge(s) provided by the County at all times while working on site.

- Schedule all testing as required for approval by authorities having jurisdiction.

- Furnish portable toilet(s) for the duration of operations.  There will be no building access for Contractor’s personnel.

- Provide a one-year warranty from the date set forth in the Notice of Substantial Completion for all Work issued by the County Representative pursuant to Section VII (County Responsibilities).  Provide any longer-term warranties on materials used by the Contractor as may be provided by the manufacturer.

- Abide by all County policies regarding the work site.

- System filtration, cleaning, flushing, chemical treatment, and hydronic balancing

- Electrical work includes disconnect, reconnection, conduits, wiring, and coordination with Division 26 requirements.

- Controls integration and sequence verification with the Building Automation System (BAS).

- Full commissioning in accordance with Section 01 9113.

- All specifications outlined in the Boettcher Mansion Chiller Replacement Construction Documents.

- COUNTY RESPONSIBILITIES

The County shall:

- Provide coordination through the County Representative.

- Provide quality assurance testing as required.

- Provide background checks on personnel used by the Contractor and issue individual-specific badges to qualified personnel.  Note: Background checks may take up to 10 days to complete.

- Along with the County’s consultant, provide a timely review of shop drawing and submittals.

- Locate known private utilities.

- Provide a location for the storage of materials, equipment, and supplies.

- Provide pre-arranged access to the subject building.

- Provide water and power as required for the Work.

- Issue a Notice of Substantial Completion after all approvals are completed in accordance with the

- ACCEPTANCE CRITERIA

The County Representative shall consider all Work complete upon approvals from all authorities having jurisdiction and the County’s consultant in conjunction with a visual inspection of the Work to verify compliance with specifications, deliverables, and industry and performance standards, and to ensure the functional operation of equipment. Commissioning Authority validates sequence performance and equipment functionality. Engineer of Record approves compliance with specifications. Defects will be corrected in accordance with Purchase Order terms. Acceptance will be provided after all requirements of final completion are met in accordance with the terms and conditions of the Purchase Order.

- PRICING AND PAYMENT

Contractor shall be paid in accordance with the terms and conditions of the Purchase Order.

- COUNTY REPRESENTATIVE FOR THIS Purchase order

| Name |  |
| --- | --- |
| Title |  |
| Phone |  |
| Email |  |

- Vendor contact for THIS purchase order

| Name |  |
| --- | --- |
| Title |  |
| Phone |  |
| Email |  |

GUARANTEE

The Contractor shall guarantee the Work against defects in workmanship and materials for a period of one (1) year commencing on the date of Final Acceptance.  The Contractor shall also assign to the County any longer term guarantee of materials used by the Contractor as may be provided by the manufacturer.  The Contractor shall promptly replace any materials or re-perform any portion of the Work found to be defective within the Guarantee Period in accordance with the Purchase Order and without expense to the County.  If the Contractor fails to proceed promptly in accordance with these guarantees, the County may have the work performed at the expense of the Contractor.

ACCEPTANCE CRITERIA

The County Representative shall consider all Work complete upon approvals from all authorities having jurisdiction and the County’s consultants in conjunction with a visual inspection of the Work to verify compliance with specifications, deliverables, and industry and performance standards, and to ensure the functional operation of equipment. Defects will be corrected in accordance with Contract terms. Acceptance will be provided after all requirements of final completion are met in accordance with the terms and conditions of the Contract.

DOCUMENTS APPLICABLE TO THIS STATEMENT OF WORK

- Jeffco Boettcher Mansion Chiller Replacement MEP DWGs (100_CDs)_Sealed

- Jeffco Boettcher Mansion Chiller Replacement Specs (100_CDs)_Sealed

- Contract Documents

- Sample Contract

- Insurance Requirements

METHOD OF SUBMITTAL

Responses shall be submitted in the format stipulated in the Submittal Checklist.

All responses submitted shall become the property of Jefferson County and will become public record. Jefferson County reserves the right to reject any responses in whole, or in part, received in response to this ITB. All costs related to the development of a response to this solicitation and/or any possible subsequent presentations are the exclusive responsibility of the responding firm. The County will not pay for any information herein requested, nor is it liable for any costs incurred by the participating firms.

COMPANY SUBMISSION

# Complete, sign, and submit this portion with your solicitation response.

# This information must be the cover page of your response.

# Company Information

Company Name:  ________________________________________       EIN: __________________

Active Unique Entity Identification (UEI) Number (Required if awarded a Federally Funded Project) __________________________________________

Company Name as filed with the Secretary of State, if corporate entity: _____________________________________

(Colorado Secretary of State Website, for reference purposes, is http://www.sos.state.co.us/  )

Note: Be advised that the successful firm, if a corporate entity, will be required to provide evidence of current good standing with the Colorado Secretary of State after acceptance of bid.

Phone Number:  _________________________

Company Address: ________________________________________

________________________________________

When organized? __________________________________________________________________________

A. If a corporation, what State incorporated in? _______________________________________________

B. Date of last filing with Secretary of State_____________________________________________

# Authorized Representative

Indicate the name of the Authorized Representative who will be assigned to this project:

______________________________________

Phone Number: _________________________  Email Address:__________________________________________

Contract Key Notices

Indicate the name and title of the individual who will receive CONTRACT Key Notices__________________________________

Company E-mail Address_______________________________________________________________________

Mailing Address_______________________________________________________________________________

Telephone Number_____________________________________________________________________________

Authorized Signatory for Contract

The County requires a legally authorized person to sign contracts and accepts signatures on contracts from the following individuals:

A.  Corporation (For-Profit or Non-Profit) – President or Vice President

B.  Limited Liability Company (LLC) - Manager or Member

C.  General Partnership, Limited Partnership (LP), Limited Liability Partnership (LLP), Limited Liability Limited Partnership (LLLP) - General Partner

Please choose one of the below options and identify:

(1) title of the person who will sign the contract according to your business form, and

(2) the document authorizing that person to sign:

Limited Liability Company (LLC)

- Sole member or manager

- Other: _________________________________ (documentation required)

If the signatory is not a sole member or manager, including company officers such as President, CEO, CFO, or General Counsel, please identify and attach documentation (e.g., operating agreement) demonstrating their authority to bind the company:

Corporation (for-profit or non-profit)

- President

- Vice-President

- Other: _________________________________ (documentation required)

If the signatory is not the President or Vice President, including corporate officers such as CEO, CFO, or General Counsel, please identify and attach documentation (e.g., a board resolution) demonstrating their authority to bind the company:

Partnerships (including general, LP, LLP, and LLLP)

- General Partner

- Other: _________________________________ (documentation required)

If the signatory is not a general partner please identify and attach documentation (e.g., partnership agreement) demonstrating their authority to bind the company:

Print name of authorized signatory:

Insurance

The successful Contractor shall be required to furnish the County with certificates of insurance for the insurance types and limits as detailed on the attached insurance exhibit prior to performing any activity on this project.   Jefferson County, Colorado shall be the Certificate Holder and shall be named as Additional Insured.  All subcontractors must meet the same insurance requirements unless a deviation has been approved.

Indicate your ability to comply with the following requirements:

- Your firm agrees to meet all insurance requirements.  If no, provide details on Exceptions sheet.

Yes      No

- The County shall be added as an Additional Insured to all liability policies:

Yes      No

c. Your property and liability insurance company is licensed to do business in Colorado:

Yes      No

d. Indicate the name of your property and liability insurance company here:

Name: ________________________________________________________

e. Your property and liability insurance company has an AM Best rating of not less than A- and/or VII:

Yes      No

Qualifications

All questions must be answered completely. If necessary, you may supply any additional information with your submittal.

- How many years have you been engaged in this type of work/service? Under what firm name(s) and how long under each?  How long has each company been bonding work?

_____________________________________________________________________________________

- Attach a list of three (3) references for major contracts with governmental agencies which parallel the proposed project.

Provide agency name, address, phone number, contact, project location, project description, contract dollar amounts, original and final with explanation if they are different, contract duration, original and final with explanation if they are different.  gross amount of each contract and the appropriate dates of completion.

- Attach resumes of the principal members of your organization who will be involved with this project.

- Liquidated damages and/or disputes: Attach a list of all government or agency projects in the last two (2) years where liquidated damages were or may be assessed; current or previous substantial disputes or protests. Attach explanation in detail.

- Have you ever failed to complete any work satisfactorily and on time awarded you by a government agency?

Yes      No

If yes, where and why? __________________________________________________________________

_________________________________________________________________________________

- Have you ever defaulted or been terminated on a contract with a government agency?

Yes      No

If yes, where and why?  Was the contract bonded?

________________________________________________________________________________

_________________________________________________________________________________

- Do you anticipate subcontracting work under this contract?

Yes      No

If yes: what percentage to total contract?  _________%   Attach list of subcontractors.

- Are any lawsuits; Federal, State or Local Tax Liens; or any potential claims or liabilities pending against you, your firm, or the officers of the firm currently?

Yes      No

If yes, attach details.

- Have any charges been filed against you, your firm, or the bidding entity, with the office of contract compliance, the equal opportunity commission, a state government civil rights commission, or any other similarly constituted entity of anti-discrimination legislation or regulations?

Yes      No

If yes, attach details.

- Has your firm filed for bankruptcy or corporate protection under applicable federal or state laws in the last seven (7) years?

Yes      No

- Will you, upon request, fill out a detailed financial statement and furnish any other information that may be required by the County?

Yes      No

- Are you or your firm currently debarred or have any exclusions from receiving federal funds according to the System for Award Management (SAM) at https://sam.gov

Yes      No

Cooperative Purchasing

Jefferson County encourages cooperative purchasing to assist other agencies to reduce their cost of issuing solicitations and to make better use of public funds through volume purchasing.  Please indicate if you agree to extend the prices and terms of the resulting award to other local government agencies in the event they would have need for your product/services:

Yes      No

Exceptions

Are there any exceptions taken to any of the terms, conditions, or specifications of these bid documents or sample contract?

Yes      No

If there are exceptions taken to any of the terms, conditions, or specifications of these bid documents, they must be clearly stated on a separate sheet of paper, attached to this bid sheet, and returned to Jefferson County.

## Base Bid

Bidding $ _____________	Total amount not to exceed for all labor, equipment and materials required for the goods and/or services as specified herein.

Acknowledgment of Receipt of Addenda

Proposer acknowledges receipt of addenda numbers ______ through _____	.   (Check if none: ☐)

Acknowledged by:  ______________________________

Acknowledgment

The undersigned, having carefully examined all the documents pertaining to the subject project, including the project specifications, agreement, and Terms & Conditions, hereby proposes to furnish all required labor, materials equipment, tools and insurance to complete the work described in the submittal documents in accordance with the project documents for the price set forth herein.

This acknowledgment shall be signed by an authorized agent and returned with the submittal.

Authorized Signature:  ______________________________________________________________

Printed Name and Title: __________________________________________________________

E-mail Address: _________________________________________________________________

Date:  _______________

Submittal Checklist

Proposing firms should make every effort to submit responses in a digitally accessible format.

In addition, the awarded proposer and its solution must comply with all applicable provisions of §§ 24-85-101, et seq., C.R.S., the Accessibility Standards for Individuals with a Disability established by the Colorado Governor’s Office of Information Technology pursuant to § 24-85-103(2.5), C.R.S., all State of Colorado technology accessibility standards, and Level AA of the most current version of the Web Content Accessibility Guidelines (WCAG), as incorporated into those standards.

The County will only accept responses submitted on BidNet (Rocky Mountain E-Purchasing System, RMEPS) and will not accept hard copies or responses submitted by any other means. After uploading response documents, you must click the SUBMIT button. The County will not accept uploads that are “saved” but not “submitted”. To verify that your response was submitted successfully, you may contact BidNet Support or verify via the Bid Management tab in your account that the documents are not in “Draft” status. For any technical assistance, please contact BidNet support at 800-835-4603.

Late submittals will not be accepted.

The following documents are to be returned with your response.  An incomplete response may lead to disqualification.

Submit the following copies of all information requested herein, including all attachments, and in the order listed below.

Place a check (√) against each document submitted.

ONE (1) electronic copy submitted on BidNet www.bidnetdirect.om/colorado to include:

- Response to the Scope of Work and Specifications of this solicitation

- Bid Document – Provide Cost Breakdown on document with your company’s letterhead

- Completed and signed Company Submission and Qualifications

- W-9 for firm submitting the response

- Attachments for the following items:

    - References

    - Resumes

- If applicable:

      - Details on liquidated damages and/or disputes

      - List of subcontractors

      - Details on lawsuits

      - Details on charges filed

      - Exceptions sheet

      - Authorized Signatory pages

Terms and Conditions of the solicitation

- Understanding of the Work: All participating firms or individuals (hereinafter referred to as Offeror or Vendor) are expected to examine all documents contained herein.  Failure to do so shall in no way relieve an Offeror from obligations with respect to their offer or to the subsequent award.  Nonresponsive and incomplete submittals may be deemed cause for rejection.  The County is not required to consider any claim of misunderstanding.

- Questions: Offerors, by their signature hereunder, shall agree to comply with all the conditions, requirements, and instructions of this solicitation as stated or implied herein.  Should the County omit anything from this solicitation package which is necessary to a clear understanding of the project, or should it appear that various instructions are in conflict, then the Offeror shall secure instructions from Jefferson County Procurement. All questions must be submitted in writing or via e-mail to the Jefferson County Purchasing Agent listed in the solicitation by the time and date specified in the solicitation.  Questions must reference the solicitation number and title.  Responses to Offeror inquiries for project budget or engineer's estimate will be deferred until after bid opening (for competitive sealed bids) or after award (for competitive sealed responses).

- Modifications: Modifications to any of the terms, conditions, or specifications of this solicitation which are made by the County after the solicitation has been posted, and prior to the due date and time, will be made in writing, and signed by the Procurement Manager.  No employee of Jefferson County is authorized to modify any of the terms, conditions, or specifications of this package without written approval of the Procurement Manager.  This does not prevent the County from considering or accepting offers that propose specifications differing from those included here.

- Informalities or irregularities: The County reserves the right to reject any or all responses or portions thereof, to waive any informalities or irregularities in the responses received which are inconsequential or immaterial in nature, and to approve awards in total or in part, whichever, in its judgment best serves the interests of Jefferson County.

- Joint Ventures: In the event a response is submitted by a joint venture, each signatory of the joint venture agreement by which such joint venture was formed, shall sign the response documents.

- Collusion:  By submitting a response, the Offeror certifies that (a) the prices in the response have been arrived at independently without collusion, consultation, communication or agreement for the purpose of restricting competition as to any matter relating to such prices with any other participating Offeror or with any competitor; (b) the prices quoted herein have not been and will not be knowingly disclosed, directly or indirectly, by the Offeror to any other participating Offerors, competitors or County's representatives prior to the final date for submission of such offer; and (c) no attempt has been made and none will be made by the Offeror to induce any other person partnership or corporation to submit a response or not to submit a response (complementary or otherwise) for the purpose of restricting competition.

- Obligation:  By submitting a response, the Offeror acknowledges that (a) the preparation and submission of the response, and other quotations herein contained, does not obligate the County in any way; (b) the County assumes no obligation to enter into an agreement for the project; (c) all solicitation documents are understood; and (d) the Offeror has the equipment, technical ability, personnel and facilities to complete the project as specified herein in accordance with the solicitation documents.

- Confidential/Proprietary Information. The County is a public entity whose records are subject to public inspection in accordance with the Colorado Open Records Act, C.R.S. §§ 24-72-200.1 et seq. (“CORA”). Upon an award of contract to the successful Vendor, all responses, whether successful or not, will become public records subject to public inspection in accordance with CORA. For these reasons, the County discourages Vendors from submitting trade secrets, or confidential commercial, or financial information, or geological or geophysical data, unless absolutely necessary to respond to the solicitation. If Vendors intend to submit this type of information, Vendors will adhere to the following process:

  - Vendor will package trade secrets and/or confidential commercial or financial information in a separate file and will clearly identify it as such. Comingling of trade secrets and/or confidential commercial or financial information with other information is NOT acceptable.

  - In its response, Vendor will generically identify the separately packaged information and the basis for which such information should be deemed exempt from public inspection under CORA.

If, in the sole determination of the County, the tendered information is a trade secret or confidential commercial or financial information, then the County will not produce such information in response to a CORA request.  If a Vendor comingles trade secrets and/or confidential commercial or financial information with its response, then Vendor will be deemed to have waived any claim of confidentiality for those materials and will not be afforded the benefits of this Section. The County will make a determination as to the validity of any written request for confidentiality.  Neither a response in its entirety, nor price information will be considered trade secrets or confidential commercial or financial information.

- Payment for Information: All costs, fees and expenditures paid for, or incurred by, the Offeror in connection with (1) the solicitation (2) negotiations (if any) between the Offeror and Jefferson County shall be the Offeror’s sole responsibility, and the Offeror shall have no recourse whatsoever against the County for reimbursement of such expenses.

- Pre-submittal Corrections: Responses should be free of strikethroughs.  Errors may be crossed out with corrections printed in ink or typed adjacent and must bear dated initials of the person signing the response.

- FOB Point: All prices must be quoted as FOB DESTINATION unless stated otherwise

- Exceptions/Deviations: Any item which does not meet all the terms, conditions, or specifications of this solicitation must be identified on a point-by-point basis on a separate sheet of paper and returned with your response.  Indicate the paragraph numbers from the solicitation or describe the specific location of a requirement specified in any attachment, for each deviation proposed. Deviations may be considered, if you submit adequate explanation and justification for any proposed deviation. If there are no exceptions/deviations, so state under the exceptions section of the solicitation.

- Prices: All prices offered must exclude all taxes and discounts and represent the full net amount the Offeror expects the County to pay if the project is awarded.

- Withdrawal of Response: No response shall be withdrawn for a period of one hundred eighty (180) days after the opening of responses without the consent of the County's Procurement Manager or their delegated representative.

Withdrawal of inadvertently erroneous responses before the award may be permitted if the Offeror submits proof which clearly and convincingly demonstrates, as determined by the County, that an error was made.  RESPONSES MAY NOT BE RE-SUBMITTED.

- Electronic Submittal: BidNet (Rocky Mountain E-Purchasing System, RMEPS is the sole location where Jefferson County publishes its solicitations. Only responses uploaded to BidNet will be considered.

- Submittal Deadline: The electronic responses are stamped with the date and time they are received on BidNet (Rocky Mountain E-Purchasing System, RMEPS).  Your response must be received in the format requested by the County no later than the date and time indicated in the solicitation. Late responses will not be accepted or considered.

It is the responsibility of the Offeror to ensure the response is uploaded to BidNet by or prior to the time indicated on the solicitation.  The County will not accept any late responses, regardless of the cause, unless the County causes the delay.

- Clarification: The County reserves the right to request additional written or oral information from Offerors to obtain clarification of their response.

- Award Recommendation: The award recommendation shall be made to that responsible Offeror whose response is most advantageous to Jefferson County, price, qualifications as submitted with the response, and other factors considered.

- Preliminary Procedures: The solicitation, the solicitation process and any negotiation towards a final contract are preliminary procedures only and shall not be binding on the County unless and until the County has duly approved and executed a written agreement with the Offeror.

- Process Termination: The County may terminate the solicitation process and any negotiation or discussion in connection with the solicitation at any time with or without notice to the Offeror or any other person.  In such event, the county shall have no liability whatsoever to the Offeror or any other person in connection with such termination.

- Terms of Payment: The terms of payment shall be Net 30 following inspection and acceptance of goods/services or receipt of invoice, whichever is later, unless agreed to otherwise.

- Nonperformance: Offerors who fail to perform in accordance with their response are subject to the County striking that Offeror from future bidding opportunities for a period to be determined by the Procurement Manager.

- Acknowledgement: By signing the Response Sheet contained in this solicitation, the Offeror acknowledges that it has the proper legal authority to sign the document, it has received a copy of the solicitation, and it has read and understands each of the foregoing and all other documents in this solicitation package.

- Cooperative Purchasing: Jefferson County encourages cooperative purchasing to assist other agencies to reduce their cost of conducting solicitations and to make better use of public funds through volume purchasing.  Offerors may, at their discretion, agree to extend the prices and/or terms of the resulting award to other state or local government agencies, school districts, or political subdivisions in the event they would have need for the same product/services.   Usage by any other entity shall not have a negative impact on Jefferson County in the current or any future terms.

- Disposal of Unsolicited Financial Data: If unsolicited financial data is submitted with a response, it will be destroyed to prevent it from becoming part of the public record. Vendors are advised not to include financial information unless it is expressly required in the solicitation response.

- Disadvantaged Business Enterprises: All disadvantaged business enterprises will be afforded full opportunity to submit responses in response to all invitations and will not be discriminated against on the grounds of race, color or national origin for all responses for negotiated agreements.   Vendors are encouraged to utilize the services of the Small Business Administration and the Minority Business Development Agency of the Department of Commerce as applicable.

- Consideration of Past Performance: Jefferson County reserves the right to consider past performance, historical information and fact, whether gained from the Offeror’s response, interviews, references, or any other source in the evaluation process.

- Information Obtained from Private Plan Rooms: Jefferson County is not responsible for the accuracy of information obtained by Offerors from private plan rooms or other sources not authorized by Jefferson County.

- Specifications Development Vendor Exclusion: Vendors that develop or draft specifications, requirements, or statements of work associated with the work included in this Invitation, or that assist in these activities, are excluded from submitting a bid.  By submitting a bid, the Vendor affirms that they did not draft or develop any of the above-referenced items associated with this solicitation.

- Domestic Preferences:  Offerors shall to the greatest extent practicable consistent with law, use goods, products, or materials produced in the United States for their response.

- Recoverable Materials: Offerors shall make maximum use of products containing recovered materials that are EPA-designated items unless the product cannot be acquired based upon not being competitively available within a timeframe included in the performance schedule; not meeting the bid performance requirements; or not being available at a reasonable price.  Refer to https://www.epa.gov/smm/comprehensive-procurement-guideline-cpg-program.